## Report Cover
In vivo PK Study Report
Title: Pharmacokinetics of SRI 42127 Following a Single IP Administration to C57 bl/6 mice
Study Info
Study Protocol #: | PH-DMPK-UAB-19-001 |  |  |  | Date Compound Received: | 1/15/2019
Requested by: | UAB |  |  |  | Date In-Life Initiated: | 1/16/2019
Team Name: | PK-BA |  |  |  | Date Reported: | 1/21/2019
Project: |  |  |  |  | Analysts: | Longfei Shi
`
Compound Info
Compound #: | SRI 42127 |  |  |  | Compound MW: | 348.41
Batch ID: | NA |  |  |  | Batch FW: | 348.41
Salt: | No |  |  |  | Correction Factor: | 1
In-life
Study Type: | IP PK |  |  |  | Species/strain: | C57 bl/6 mice
N / Treatment: | 3 |  |  |  | Sex: | Male
Doses: | IP | 10 | mg/kg |  | Study Director: | Li Deng
Formulations: | IP | 10/%DMSO and 90% HP-β-CD (20% w/v) in Water
Dosing Solutions: | IP | 2 | mg/mL
Blood&Brain Sampling @ | IP | 0.167 h ,0.5h and 1h
In-life Scientists: | Zheng Dong, Chengchneg Zhnag, Jingwei Sun,Yuqi Zhang, Xue Zhou, Ming Xia
In-life Comments: | No abnormal clinical symptoms were observed during the entire experiment.
Bioanalysis
Bioanalytical Assay: | HPLC | Instrument: Prominence Degasser DGU-20A5R(C), Serial NO. L20705414138 IX; Liquid Chromatograph LC-30AD, Serial NO. L20555408197 AE and L20555408195 AE; Communications Bus Module CBM-20A, Serial NO. L20235429486 CD; Auto Sampler SIL-30AC, Serial NO.L20565403814 AE; Rack changer II: L20585400900 SS
| MS | AB Sciex Triple Quad 5500 LC/MS/MS instrument (Serial NO. BB214861610)
| Column | Waters XSELECT HSS T3 2.5µm 2.1×50mm
| Mobile Phase | A | 5% Acetonitrile in Water (0.1%Formic acid)
|  | B | 95% Acetonitrile in Water (0.1%Formic acid)
| Quantification | Internal Standard Method
Bioanalysis Notebook #: | A04935
Bioanalysts: | Longfei Shi
Bioanalysis Comments:

## PK_Results
SRI 42127 IP Pharmacokinetic Profile in Male C57 bl/6 mice
SRI 42127 IP Plasma concentration-time data | [6 empty] | SRI 42127 IP Brain concentration-time data
Data highlighted in blue were used for T1/2 caculation | [6 empty] | Data highlighted in blue were used for T1/2 caculation
IP Dose | 10 | mg/kg |  |  |  |  | Dose | 10 | mg/kg
Time | Concentration (ng/mL) |  |  | Mean | SD | CV | Time | Concentration (ng/mL) |  |  | Concentration (ng/g) |  |  | Mean | SD | CV
(h) | Group 1 | Group 2 | Group 3 | (ng/mL) | (ng/mL) | (%) | (h) | Group 1 | Group 2 | Group 3 | Group 1 | Group 2 | Group 3 | (ng/g) | (ng/g) | (%)
0.167 | 2910 | 3450 | 4010 | 3456.6667 | 550.0303 | 15.9122 | 0.167 | 244 | 275 | 304 | 1220 | 1375 | 1520 | 1371.6667 | 150.0278 | 10.9376
0.5 | 782 | 1430 | 870 | 1027.3333 | 351.4845 | 34.2133 | 0.5 | 83.9 | 109 | 78.1 | 419.5 | 545 | 390.5 | 451.6667 | 82.1193 | 18.1814
1 | 130 | 104 | 53.9 | 95.9667 | 38.6808 | 40.3065 | 1 | 10.6 | 8.77 | 3.93 | 53 | 43.85 | 19.65 | 38.8333 | 17.2317 | 44.3734
LLOQ for STD samples: 1 ng/mL | [6 empty] | LLOQ for STD samples: 0.5 ng/mL
All of the brain samples were added with PBS by brain weight (g) to PBS volume (mL) ratio 1:4 for homogenating.
The actual concentration (ng/g) is the detected value (ng/mL) multiplied by 5.
Summary of SRI 42127 pharmacokinetic parameters | [6 empty] | Summary of SRI 42127 pharmacokinetic parameters
IP Dose | 10 | mg/kg |  |  |  |  | IP Dose | 10 | mg/kg
PK parameters |  | Unit | IP |  |  |  | PK parameters |  | Unit | IP
T1/2 |  | h | 0.15982 |  |  |  | T1/2 |  | h | 0.16007
Tmax |  | h | 0.167 |  |  |  | Tmax |  | h | 0.167
Cmax |  | ng/mL | 3457 |  |  |  | Cmax |  | ng/g | 1372
AUClast |  | h*ng/mL | 1315.9955 |  |  |  | AUClast |  | h*ng/g | 540.958
AUCInf |  | h*ng/mL | 1338.1309 |  |  |  | AUCInf |  | h*ng/g | 549.9181
AUC_%Extrap_obs |  | % | 1.6542 |  |  |  | AUC_%Extrap_obs |  | % | 1.6293
MRTInf_obs |  | h | 0.30598 |  |  |  | MRTInf_obs |  | h | 0.31303
AUClast/D |  | h*mg/mL | 131.5995 |  |  |  | AUClast/D |  | h*mg/g | 54.0958
F |  | % | NA |  |  |  | F |  | % | NA
Plasma concentration vs time profile for SRI 42127 after 10 mg/kg IP in C57 bl/6 mice | [6 empty] | Brain concentration vs time profile for SRI 42127 after 10 mg/kg IP in C57 bl/6 mice
Ratio of SRI 42127 between Plasma and Brain Following IP Administration
Route | Time (h) | Animal ID | Brain (ng/g) | Plasma (ng/mL) | Ratio (Plasma/ Brain) | Mean | Route | Time (h) | Animal ID | Brain (ng/g) | Plasma (ng/mL) | Ratio (Brain/ Plasma) | Mean
IP | 0.167 | 1 | 1220 | 2910 | 2.3852 | 2.5108 | IP | 0.167 | 1 | 1220 | 2910 | 0.41924 | 0.39895
|  | 2 | 1375 | 3450 | 2.5091 |  |  |  | 2 | 1375 | 3450 | 0.39855
|  | 3 | 1520 | 4010 | 2.6382 |  |  |  | 3 | 1520 | 4010 | 0.37905
| 0.5 | 4 | 419.5 | 782 | 1.8641 | 2.2386 |  | 0.5 | 4 | 419.5 | 782 | 0.53645 | 0.45547
|  | 5 | 545 | 1430 | 2.6239 |  |  |  | 5 | 545 | 1430 | 0.38112
|  | 6 | 390.5 | 870 | 2.2279 |  |  |  | 6 | 390.5 | 870 | 0.44885
| 1 | 7 | 53 | 130 | 2.4528 | 2.5225 |  | 1 | 7 | 53 | 130 | 0.40769 | 0.39796
|  | 8 | 43.85 | 104 | 2.3717 |  |  |  | 8 | 43.85 | 104 | 0.42163
|  | 9 | 19.65 | 53.9 | 2.743 |  |  |  | 9 | 19.65 | 53.9 | 0.36456
Plasma concentration vs time profile for Longfei Shi after in | [6 empty] | Plasma concentration vs time profile for after in

## Formulation
Compound information
Compound ID | SRI 42127 | Lot No.: | NA
MW (Free form) | 348.41 | FW (Salt form) | 348.41
Purity | NA | Appearance | Sight Yellow powder
Formulation Preparation
Preparation of IP (10 mg/kg, 5 mL/kg) formulation
Dissolved 4.84 mg of SRI 42127 in 0.242 mL of DMSO with vortexing, sonification, then addded 2.178 mL "HPβCD (20% w/v) in Water" with vortexing, sonification to obtain a solution at 2 mg/mL of SRI 42127.
Note: The formulation was freshly made prior to use.
Formulation Checklist
Formulation: PO dosing of SRI 42127
Process: | no manipulation |  |  | sonicate
| heat (high) |  |  | add EtOH
| dilute |  |  | heat (low)
| vortex | √ |  | filtered
| add acid / base |  |  | heat (med)
| preformulated |  |  | centrifuge/supernatant
other _vehicle ingredients: No
Result: | clear/OK | √ |  | ppt’d out
| particulate |  |  | color | Colorless
| suspension |  |  | emulsion
| cloudy |  |  | other
homogeneous
Dose Formulaitons Validation
Route | Sample Name | Dilution Factor | Nominal | Measured | Mean | Accuracy | SD | CV
|  |  | (mg/mL) | (mg/mL) | (mg/mL) | (%) | (mg/mL) | (%)
IP | IP_Dose_1 | 10000 | 2 | 1.85 | 1.9267 | 96.3333 | 0.10017 | 5.199
| IP_Dose_2 | 10000 |  | 2.04
| IP_Dose_3 | 10000 |  | 1.89

## Analytical Method
LC-MS/MS System
HPLC: | Instrument: Prominence Degasser DGU-20A5R(C), Serial NO. L20705414138 IX; Liquid Chromatograph LC-30AD, Serial NO. L20555408197 AE and L20555408195 AE; Communications Bus Module CBM-20A, Serial NO. L20235429486 CD; Auto Sampler SIL-30AC, Serial NO.L20565403814 AE; Rack changer II: L20585400900 SS
Column: | Waters XSELECT HSS T3 2.5µm 2.1×50mm
MS | AB Sciex Triple Quad 5500 LC/MS/MS instrument (Serial NO. BB214861610)
HPLC Conditions
Mobile Phase
Solution A: | 5% Acetonitrile in Water (0.1%Formic acid)
Solution B: | 95% Acetonitrile in Water (0.1%Formic acid)
Gradient
Flow rate: 0.6 mL/min
Time (min) | A (%) | B (%)
0.2 | 95 | 5
1.7 | 5 | 95
2 | 5 | 95
2.01 | 95 | 5
2.5 | 95 | 5
Injection volume: | 5 μL
Sample Preparation
The desired serial concentrations of working solutions were achieved by diluting stock solution of analyte with 50% acetonitrile in water solution. 3 µL of working solutions ( 5, 10, 20, 50, 100, 500, 1000, 5000, 10000 ng/mL) were added to 30 μL of the blank C57 bl/6 mice plasma or brain homogenate to achieve calibration standards of 0.5~1000 ng/mL ( 0.5, 1, 2, 5, 10, 50, 100, 500, 1000 ng/mL) in a total volume of 33 μL. Four quality control samples at 1 ng/mL, 2ng/mL, 50 ng/mL and 800 ng/mL for matrix (plasma or brain homogenate) were prepared independently of those used for the calibration curves. These QC samples were prepared on the day of analysis in the same way as calibration standards. 33 μL of standards, 33 μL of QC samples and 33 μL of unknown samples (30 µL of plasma or brain homogenate with 3 µL of blank solution) were added to 200 μL of acetonitrile containing IS mixture for precipitating protein respectively. Then the samples were vortexed for 30 s. After centrifugation at 4 degree Celsius, 4700 rpm for 15 min. The supernatant was diluted 3 times with water.5 µL of supernatant was injected into the LC/MS/MS system for quantitative analysis.

## Raw Data
Plasma
Peak Name: Dexamethasone
Use as Internal Standard
Q1/Q3 Masses: 393.40/373.30 Da
Peak Name: SRI42127
Internal Standard: Dexamethasone
Q1/Q3 Masses: 349.07/265.10 Da
Fit | Linear | Weighting | 1 / (x * x) | Iterate | No
Intercept | 0.00879
Slope | 0.0225
Correlation coefficient | 0.9967
Use Area
Sample Name | Sample ID | Filetype | Filename | Dil.Factor | R.T. | Area | IS Area | Conc. | Calc.Conc. | Accuracy | Use Record
DB | 1 | Double Blank | UAB-19-001 Mouse IP Plasma PK_190116.wiff | 1 | 0 | 0 | 0 | 0 | N/A | N/A
CB | 2 | Blank | UAB-19-001 Mouse IP Plasma PK_190116.wiff | 1 | 1.15 | 176 | 41700 | 0 | N/A | N/A
C1_1 | 3 | Standard | UAB-19-001 Mouse IP Plasma PK_190116.wiff | 1 | 1.17 | 473 | 43600 | 0.5 | 0.0913 | 18.3 | 0
C2_1 | 4 | Standard | UAB-19-001 Mouse IP Plasma PK_190116.wiff | 1 | 1.17 | 1250 | 42000 | 1 | 0.934 | 93.4 | 1
C3_1 | 5 | Standard | UAB-19-001 Mouse IP Plasma PK_190116.wiff | 1 | 1.17 | 1990 | 41400 | 2 | 1.74 | 87.2 | 1
C4_1 | 6 | Standard | UAB-19-001 Mouse IP Plasma PK_190116.wiff | 1 | 1.17 | 4940 | 44000 | 5 | 4.59 | 91.8 | 1
C5_1 | 7 | Standard | UAB-19-001 Mouse IP Plasma PK_190116.wiff | 1 | 1.17 | 10700 | 42200 | 10 | 10.8 | 108 | 1
C6_1 | 8 | Standard | UAB-19-001 Mouse IP Plasma PK_190116.wiff | 1 | 1.17 | 53700 | 44100 | 50 | 53.7 | 107 | 1
C7_1 | 9 | Standard | UAB-19-001 Mouse IP Plasma PK_190116.wiff | 1 | 1.16 | 96800 | 42000 | 100 | 102 | 102 | 1
C8_1 | 10 | Standard | UAB-19-001 Mouse IP Plasma PK_190116.wiff | 1 | 1.17 | 514000 | 42900 | 500 | 532 | 106 | 1
C9_1 | 11 | Standard | UAB-19-001 Mouse IP Plasma PK_190116.wiff | 1 | 1.17 | 995000 | 42800 | 1000 | 1030 | 103 | 1
CB | 12 | Blank | UAB-19-001 Mouse IP Plasma PK_190116.wiff | 1 | 1.17 | 1030 | 44100 | 0 | N/A | N/A
QC_A_1 | 13 | Quality Control | UAB-19-001 Mouse IP Plasma PK_190116.wiff | 1 | 1.16 | 1430 | 42700 | 1 | 1.09 | 109 | 1
QC_B_1 | 14 | Quality Control | UAB-19-001 Mouse IP Plasma PK_190116.wiff | 1 | 1.16 | 2450 | 43000 | 2 | 2.14 | 107 | 1
QC_C_1 | 15 | Quality Control | UAB-19-001 Mouse IP Plasma PK_190116.wiff | 1 | 1.17 | 50900 | 45400 | 50 | 49.4 | 98.8 | 1
QC_D_1 | 16 | Quality Control | UAB-19-001 Mouse IP Plasma PK_190116.wiff | 1 | 1.16 | 808000 | 45000 | 800 | 797 | 99.6 | 1
CB | 17 | Blank | UAB-19-001 Mouse IP Plasma PK_190116.wiff | 1 | 1.16 | 499 | 44400 | 0 | N/A | N/A
IP_Dose_1 | 18 | Unknown | UAB-19-001 Mouse IP Plasma PK_190116.wiff | 1 | 1.17 | 184000 | 43900 | N/A | 185 | N/A
IP_Dose_2 | 19 | Unknown | UAB-19-001 Mouse IP Plasma PK_190116.wiff | 1 | 1.16 | 201000 | 43600 | N/A | 204 | N/A
IP_Dose_3 | 20 | Unknown | UAB-19-001 Mouse IP Plasma PK_190116.wiff | 1 | 1.16 | 182000 | 42700 | N/A | 189 | N/A
CB | 21 | Blank | UAB-19-001 Mouse IP Plasma PK_190116.wiff | 1 | 1.17 | 308 | 44800 | 0 | N/A | N/A
IP_M1_1h | 22 | Unknown | UAB-19-001 Mouse IP Plasma PK_190116.wiff | 10 | 1.17 | 13300 | 44100 | N/A | 130 | N/A
IP_M2_1h | 23 | Unknown | UAB-19-001 Mouse IP Plasma PK_190116.wiff | 10 | 1.16 | 11100 | 45900 | N/A | 104 | N/A
IP_M3_1h | 24 | Unknown | UAB-19-001 Mouse IP Plasma PK_190116.wiff | 10 | 1.16 | 5650 | 43400 | N/A | 53.9 | N/A
IP_M1_0.5h | 25 | Unknown | UAB-19-001 Mouse IP Plasma PK_190116.wiff | 10 | 1.17 | 82900 | 46900 | N/A | 782 | N/A
IP_M2_0.5h | 26 | Unknown | UAB-19-001 Mouse IP Plasma PK_190116.wiff | 10 | 1.17 | 138000 | 42600 | N/A | 1430 | N/A
IP_M3_0.5h | 27 | Unknown | UAB-19-001 Mouse IP Plasma PK_190116.wiff | 10 | 1.17 | 89400 | 45400 | N/A | 870 | N/A
IP_M1_0.167h | 28 | Unknown | UAB-19-001 Mouse IP Plasma PK_190116.wiff | 10 | 1.17 | 291000 | 44400 | N/A | 2910 | N/A
IP_M2_0.167h | 29 | Unknown | UAB-19-001 Mouse IP Plasma PK_190116.wiff | 10 | 1.17 | 321000 | 41300 | N/A | 3450 | N/A
IP_M3_0.167h | 30 | Unknown | UAB-19-001 Mouse IP Plasma PK_190116.wiff | 10 | 1.17 | 397000 | 44000 | N/A | 4010 | N/A
CB | 31 | Blank | UAB-19-001 Mouse IP Plasma PK_190116.wiff | 1 | 1.16 | 544 | 46700 | N/A | 0.127 | N/A
QC_A_2 | 32 | Quality Control | UAB-19-001 Mouse IP Plasma PK_190116.wiff | 1 | 1.17 | 1510 | 43000 | 1 | 1.17 | 117 | 1
QC_B_2 | 33 | Quality Control | UAB-19-001 Mouse IP Plasma PK_190116.wiff | 1 | 1.17 | 2660 | 44600 | 2 | 2.26 | 113 | 1
QC_C_2 | 34 | Quality Control | UAB-19-001 Mouse IP Plasma PK_190116.wiff | 1 | 1.17 | 49900 | 47600 | 50 | 46.1 | 92.2 | 1
QC_D_2 | 35 | Quality Control | UAB-19-001 Mouse IP Plasma PK_190116.wiff | 1 | 1.16 | 842000 | 43800 | 800 | 853 | 107 | 1
CB | 36 | Blank | UAB-19-001 Mouse IP Plasma PK_190116.wiff | 1 | 1.16 | 657 | 44900 | 0 | N/A | N/A
C1_2 | 37 | Standard | UAB-19-001 Mouse IP Plasma PK_190116.wiff | 1 | 1.16 | 1200 | 48900 | 0.5 | 0.696 | 139 | 0
C2_2 | 38 | Standard | UAB-19-001 Mouse IP Plasma PK_190116.wiff | 1 | 1.16 | 1560 | 45400 | 1 | 1.13 | 113 | 1
C3_2 | 39 | Standard | UAB-19-001 Mouse IP Plasma PK_190116.wiff | 1 | 1.16 | 1880 | 46500 | 2 | 1.4 | 70.2 | 0
C4_2 | 40 | Standard | UAB-19-001 Mouse IP Plasma PK_190116.wiff | 1 | 1.16 | 5750 | 45900 | 5 | 5.18 | 104 | 1
C5_2 | 41 | Standard | UAB-19-001 Mouse IP Plasma PK_190116.wiff | 1 | 1.17 | 10300 | 45800 | 10 | 9.61 | 96.1 | 1
C6_2 | 42 | Standard | UAB-19-001 Mouse IP Plasma PK_190116.wiff | 1 | 1.17 | 55600 | 49600 | 50 | 49.4 | 98.8 | 1
C7_2 | 43 | Standard | UAB-19-001 Mouse IP Plasma PK_190116.wiff | 1 | 1.16 | 101000 | 45600 | 100 | 97.5 | 97.5 | 1
C8_2 | 44 | Standard | UAB-19-001 Mouse IP Plasma PK_190116.wiff | 1 | 1.16 | 522000 | 49500 | 500 | 468 | 93.6 | 1
C9_2 | 45 | Standard | UAB-19-001 Mouse IP Plasma PK_190116.wiff | 1 | 1.17 | 1060000 | 48300 | 1000 | 971 | 97.1 | 1
Brain
Peak Name: Dexamethasone
Use as Internal Standard
Q1/Q3 Masses: 393.40/373.30 Da
Peak Name: SRI42127
Internal Standard: Dexamethasone
Q1/Q3 Masses: 349.07/265.10 Da
Fit | Linear | Weighting | 1 / (x * x) | Iterate | No
Intercept | 0.00755
Slope | 0.0208
Correlation coefficient | 0.9971
Use Area
Sample Name | Sample ID | Filetype | Filename | Dil.Factor | R.T. | Area | IS Area | Conc. | Calc.Conc. | Accuracy | Use Record
DB | 1 | Double Blank | UAB-19-001 Mouse IP Brain PK_190116.wiff | 1 | 1.17 | 331 | 96.4 | 0 | N/A | N/A
CB | 2 | Blank | UAB-19-001 Mouse IP Brain PK_190116.wiff | 1 | 1.17 | 210 | 46800 | 0 | N/A | N/A
C1_1 | 3 | Standard | UAB-19-001 Mouse IP Brain PK_190116.wiff | 1 | 1.17 | 828 | 45900 | 0.5 | 0.504 | 101 | 1
C2_1 | 4 | Standard | UAB-19-001 Mouse IP Brain PK_190116.wiff | 1 | 1.17 | 1170 | 48700 | 1 | 0.788 | 78.8 | 0
C3_1 | 5 | Standard | UAB-19-001 Mouse IP Brain PK_190116.wiff | 1 | 1.16 | 2520 | 56700 | 2 | 1.77 | 88.4 | 1
C4_1 | 6 | Standard | UAB-19-001 Mouse IP Brain PK_190116.wiff | 1 | 1.17 | 5520 | 49500 | 5 | 4.99 | 99.8 | 1
C5_1 | 7 | Standard | UAB-19-001 Mouse IP Brain PK_190116.wiff | 1 | 1.17 | 10100 | 53600 | 10 | 8.72 | 87.2 | 1
C6_1 | 8 | Standard | UAB-19-001 Mouse IP Brain PK_190116.wiff | 1 | 1.17 | 51200 | 45100 | 50 | 54.1 | 108 | 1
C7_1 | 9 | Standard | UAB-19-001 Mouse IP Brain PK_190116.wiff | 1 | 1.17 | 101000 | 47300 | 100 | 102 | 102 | 1
C8_1 | 10 | Standard | UAB-19-001 Mouse IP Brain PK_190116.wiff | 1 | 1.17 | 523000 | 46500 | 500 | 540 | 108 | 1
C9_1 | 11 | Standard | UAB-19-001 Mouse IP Brain PK_190116.wiff | 1 | 1.17 | 974000 | 49100 | 1000 | 952 | 95.2 | 1
CB | 12 | Blank | UAB-19-001 Mouse IP Brain PK_190116.wiff | 1 | 1.17 | 923 | 49800 | 0 | N/A | N/A
QC_A_1 | 13 | Quality Control | UAB-19-001 Mouse IP Brain PK_190116.wiff | 1 | 1.17 | 1630 | 45200 | 1 | 1.37 | 137 | 0
QC_B_1 | 14 | Quality Control | UAB-19-001 Mouse IP Brain PK_190116.wiff | 1 | 1.17 | 2320 | 46000 | 2 | 2.06 | 103 | 1
QC_C_1 | 15 | Quality Control | UAB-19-001 Mouse IP Brain PK_190116.wiff | 1 | 1.17 | 53500 | 44200 | 50 | 57.7 | 115 | 1
QC_D_1 | 16 | Quality Control | UAB-19-001 Mouse IP Brain PK_190116.wiff | 1 | 1.16 | 833000 | 47000 | 800 | 851 | 106 | 1
CB | 17 | Blank | UAB-19-001 Mouse IP Brain PK_190116.wiff | 1 | 1.17 | 505 | 47100 | 0 | N/A | N/A
IP_M1_1h | 18 | Unknown | UAB-19-001 Mouse IP Brain PK_190116.wiff | 1 | 1.17 | 10800 | 47200 | N/A | 10.6 | N/A
IP_M2_1h | 19 | Unknown | UAB-19-001 Mouse IP Brain PK_190116.wiff | 1 | 1.16 | 8760 | 46000 | N/A | 8.77 | N/A
IP_M3_1h | 20 | Unknown | UAB-19-001 Mouse IP Brain PK_190116.wiff | 1 | 1.16 | 4440 | 49600 | N/A | 3.93 | N/A
IP_M1_0.5h | 21 | Unknown | UAB-19-001 Mouse IP Brain PK_190116.wiff | 1 | 1.17 | 84400 | 48100 | N/A | 83.9 | N/A
IP_M2_0.5h | 22 | Unknown | UAB-19-001 Mouse IP Brain PK_190116.wiff | 1 | 1.17 | 102000 | 45000 | N/A | 109 | N/A
IP_M3_0.5h | 23 | Unknown | UAB-19-001 Mouse IP Brain PK_190116.wiff | 1 | 1.17 | 80800 | 49400 | N/A | 78.1 | N/A
IP_M1_0.167h | 24 | Unknown | UAB-19-001 Mouse IP Brain PK_190116.wiff | 1 | 1.17 | 237000 | 46600 | N/A | 244 | N/A
IP_M2_0.167h | 25 | Unknown | UAB-19-001 Mouse IP Brain PK_190116.wiff | 1 | 1.17 | 287000 | 49900 | N/A | 275 | N/A
IP_M3_0.167h | 26 | Unknown | UAB-19-001 Mouse IP Brain PK_190116.wiff | 1 | 1.16 | 299000 | 47200 | N/A | 304 | N/A
CB | 27 | Blank | UAB-19-001 Mouse IP Brain PK_190116.wiff | 1 | 1.16 | 371 | 51500 | N/A | < 0 | N/A
QC_A_2 | 28 | Quality Control | UAB-19-001 Mouse IP Brain PK_190116.wiff | 1 | 1.17 | 1640 | 50400 | 1 | 1.2 | 120 | 1
QC_B_2 | 29 | Quality Control | UAB-19-001 Mouse IP Brain PK_190116.wiff | 1 | 1.17 | 2420 | 47500 | 2 | 2.09 | 104 | 1
QC_C_2 | 30 | Quality Control | UAB-19-001 Mouse IP Brain PK_190116.wiff | 1 | 1.16 | 54300 | 48600 | 50 | 53.3 | 107 | 1
QC_D_2 | 31 | Quality Control | UAB-19-001 Mouse IP Brain PK_190116.wiff | 1 | 1.16 | 820000 | 51700 | 800 | 760 | 95 | 1
CB | 32 | Blank | UAB-19-001 Mouse IP Brain PK_190116.wiff | 1 | 1.17 | 682 | 49200 | 0 | N/A | N/A
C1_2 | 33 | Standard | UAB-19-001 Mouse IP Brain PK_190116.wiff | 1 | 1.16 | 856 | 48000 | 0.5 | 0.493 | 98.6 | 0
C2_2 | 34 | Standard | UAB-19-001 Mouse IP Brain PK_190116.wiff | 1 | 1.17 | 1430 | 49000 | 1 | 1.04 | 104 | 1
C3_2 | 35 | Standard | UAB-19-001 Mouse IP Brain PK_190116.wiff | 1 | 1.16 | 2460 | 47500 | 2 | 2.12 | 106 | 1
C4_2 | 36 | Standard | UAB-19-001 Mouse IP Brain PK_190116.wiff | 1 | 1.17 | 5010 | 49700 | 5 | 4.48 | 89.5 | 1
C5_2 | 37 | Standard | UAB-19-001 Mouse IP Brain PK_190116.wiff | 1 | 1.17 | 10800 | 48000 | 10 | 10.5 | 105 | 1
C6_2 | 38 | Standard | UAB-19-001 Mouse IP Brain PK_190116.wiff | 1 | 1.17 | 53400 | 47600 | 50 | 53.4 | 107 | 1
C7_2 | 39 | Standard | UAB-19-001 Mouse IP Brain PK_190116.wiff | 1 | 1.17 | 103000 | 47400 | 100 | 104 | 104 | 1
C8_2 | 40 | Standard | UAB-19-001 Mouse IP Brain PK_190116.wiff | 1 | 1.16 | 516000 | 50200 | 500 | 493 | 98.6 | 1
C9_2 | 41 | Standard | UAB-19-001 Mouse IP Brain PK_190116.wiff | 1 | 1.17 | 1040000 | 51000 | 1000 | 975 | 97.5 | 1

## Parameters
Plasma |  |  |  | Brain
project | Time of Dose | Dose (mg/kg) |  | project | Time of Dose | Dose (mg/kg)
1 | 0 | 10 |  | 2 | 0 | 10
subject | Parameter | Units | IP | subject | Parameter | Units | IP
1 | Rsq |  | 0.99526 | 2 | Rsq |  | 0.99019
1 | Rsq_adjusted |  | 0.99051 | 2 | Rsq_adjusted |  | 0.98039
1 | Corr_XY |  | -0.99763 | 2 | Corr_XY |  | -0.99508
1 | No_points_lambda_z |  | 3 | 2 | No_points_lambda_z |  | 3
1 | Lambda_z | 1/h | 4.3369 | 2 | Lambda_z | 1/h | 4.3303
1 | Lambda_z_lower | h | 0.167 | 2 | Lambda_z_lower | h | 0.167
1 | Lambda_z_upper | h | 1 | 2 | Lambda_z_upper | h | 1
1 | HL_Lambda_z | h | 0.15982 | 2 | HL_Lambda_z | h | 0.16007
1 | Tlag | h | 0 | 2 | Tlag | h | 0
1 | Tmax | h | 0.167 | 2 | Tmax | h | 0.167
1 | Cmax | ng/ml | 3457 | 2 | Cmax | ng/g | 1372
1 | Cmax_D | kg*ng/ml/mg | 345.7 | 2 | Cmax_D | kg*ng/g/mg | 137.2
1 | Tlast | h | 1 | 2 | Tlast | h | 1
1 | Clast | ng/ml | 96 | 2 | Clast | ng/g | 38.8
1 | AUClast | h*ng/ml | 1315.9955 | 2 | AUClast | h*ng/g | 540.958
1 | AUCall | h*ng/ml | 1315.9955 | 2 | AUCall | h*ng/g | 540.958
1 | AUCINF_obs | h*ng/ml | 1338.1309 | 2 | AUCINF_obs | h*ng/g | 549.9181
1 | AUCINF_D_obs | h*kg*ng/ml/mg | 133.8131 | 2 | AUCINF_D_obs | h*kg*ng/g/mg | 54.9918
1 | AUC_%Extrap_obs | % | 1.6542 | 2 | AUC_%Extrap_obs | % | 1.6293
1 | Vz_F_obs | ml/kg | 1723.1261 | 2 | Vz_F_obs | g/kg | 4199.3518
1 | Cl_F_obs | ml/h/kg | 7473.1106 | 2 | Cl_F_obs | g/h/kg | 18184.527
1 | AUCINF_pred | h*ng/ml | 1339.4426 | 2 | AUCINF_pred | h*ng/g | 550.692
1 | AUCINF_D_pred | h*kg*ng/ml/mg | 133.9443 | 2 | AUCINF_D_pred | h*kg*ng/g/mg | 55.0692
1 | AUC_%Extrap_pred | % | 1.7505 | 2 | AUC_%Extrap_pred | % | 1.7676
1 | Vz_F_pred | ml/kg | 1721.4387 | 2 | Vz_F_pred | g/kg | 4193.4498
1 | Cl_F_pred | ml/h/kg | 7465.7923 | 2 | Cl_F_pred | g/h/kg | 18158.969
1 | AUMClast | h*h*ng/ml | 382.2025 | 2 | AUMClast | h*h*ng/g | 161.11
1 | AUMCINF_obs | h*h*ng/ml | 409.4418 | 2 | AUMCINF_obs | h*h*ng/g | 172.1392
1 | AUMC_%Extrap_obs | % | 6.6528 | 2 | AUMC_%Extrap_obs | % | 6.4072
1 | AUMCINF_pred | h*h*ng/ml | 411.0559 | 2 | AUMCINF_pred | h*h*ng/g | 173.0919
1 | AUMC_%Extrap_pred | % | 7.0193 | 2 | AUMC_%Extrap_pred | % | 6.9223
1 | MRTlast | h | 0.29043 | 2 | MRTlast | h | 0.29782
1 | MRTINF_obs | h | 0.30598 | 2 | MRTINF_obs | h | 0.31303
1 | MRTINF_pred | h | 0.30689 | 2 | MRTINF_pred | h | 0.31432