## S3
S3A | Patient UMPED | Experiment Number | Tissue Type | Normal/Tumor | Gene Mutation | Nanopore VAF % (all replicates) | Standard Deviation % | MiOncoseq VAF % | True Positive | True Negative | False Positive | False Negative | S3B |  | Total Samples (n) | True Positive | True Negative | False Positive | False Negative | Sensitivity | Specificity
| 18 | 15 | Tissue | Tumor | H3F3A K27M | 48.3 | 0 | N/A | 1 | 0 | 0 | 0 |  | All | 188 | 99 | 68 | 0 | 21 | 82.5% | 100%
|  | 18 | CSF | Normal | H3F3A K27M | 1.23 | 0 | N/A | 0 | 1 | 0 | 0 |  | CSF | 188 | 72 | 42 | 0 | 13 | 84.71% | 100%
|  | 27 | Tissue | Tumor | H3F3A K27M | 48.5865 | 0.6686 | 57 | 2 | 0 | 0 | 0 |  | Tissue |  | 27 | 26 | 0 | 8 | 77.14% | 100%
[6 empty] | 49.532 | [7 empty] | Autopsy | 153 | 56 | 33 | 0 | 12 | 82.35% | 100%
|  | 29 | Tissue | Tumor | H3F3A K27M | 49.02 | N/A | 57 | 1 | 0 | 0 | 0 |  | Living |  | 43 | 0 | 0 | 9 | 82.69% | N/A
|  | 57 | Tissue | Tumor | H3F3A K27M | 44.4036 | 0.49321 | 55 | 2 | 0 | 0 | 0
43.7061
[5 empty] | PIK3CA E545K | 28.752 | 0.14663 | 36 | 2 | 0 | 0 | 0
28.5446
|  |  | CSF | Tumor | H3F3A K27M | 29.7757 | 0.45627 | 55 | 2 | 0 | 0 | 0
29.1305
[5 empty] | PIK3CA E545K | 21.2117 | 2.4971 | 36 | 2 | 0 | 0 | 0
24.7432
|  |  | Tissue | Normal | H3F3A K27M | 1.2386 | 0.0016618 | 26 | 0 | 2 | 0 | 0
1.241
[5 empty] | PIK3CA E545K | 0.9787 | 0.034375 | 26 | 0 | 2 | 0 | 0
1.0273
|  | 58 | Tissue | Normal | HIST1H3B K28M | 0.87096 | 0.043867 | N/A | 0 | 2 | 0 | 0
0.80893
[5 empty] | ACVR1 G328E | 0.95422 | 2.4971 | N/A | 0 | 2 | 0 | 0
1.3232
[5 empty] | TP53 R213* | 1.3658 | 2.4971 | N/A | 0 | 2 | 0 | 0
1.4898
| 22 | 27 | CSF | Tumor | HIST1H3B K28M | 9.6429 | 1.1148 | 22 | 2 | 0 | 0 | 0
11.2195
[5 empty] | ACVR1_7 | 4.3204 | 0.063646 | 23 | 2 | 0 | 0 | 0
4.2304
|  | 44 | Tissue | Tumor | TP53 R213* | 66.6803 | 0.15845 | 45 | 2 | 0 | 0 | 0
66.9044
[5 empty] | ACVR1 G328E | 38.0205 | 0.46528 | 23 | 2 | 0 | 0 | 0
38.6785
|  | 58 | CSF | Tumor | HIST1H3B K28M | 8.0826 | 0.092565 | 22 | 2 | 0 | 0 | 0
8.2135
[5 empty] | ACVR1 G328E | 10.8669 | 0.048749 | 23 | 2 | 0 | 0 | 0
10.798
[5 empty] | TP53 R213* | 13.5024 | 0.44135 | 45 | 2 | 0 | 0 | 0
14.1265
|  |  | Tissue | Tumor | HIST1H3B K28M | 19.9901 | 0.6195 | 22 | 2 | 0 | 0 | 0
20.8662
[5 empty] | ACVR1 G328E | 25.8662 | 0.21988 | 23 | 2 | 0 | 0 | 0
25.5552
[5 empty] | TP53 R213* | 35.0112 | 0.27027 | 45 | 2 | 0 | 0 | 0
35.3934
|  | 63 | Tissue | Normal | ATRX Q119st | 1.3721 | 0 | N/A | 0 | 3 | 0 | 0
1.3721
1.3721
| 24 | 29 | CSF | Tumor | H3F3A K27M | 0.81022 | 0.74704 | 24 | 0 | 0 | 0 | 9
0.79405
0.81648
0.83736
0.92679
0.84168
2.2992
2.4473
2.2312
| 25 | 19 | CSF | Tumor | H3F3A K27M | 10.0348 | N/A | 47 | 1 | 0 | 0 | 0
| 37 | 23 | Tissue | Normal | H3F3A K27M | 1.2679 | N/A | N/A | 0 | 1 | 0 | 0
[5 empty] | HIST1H3B K28M | 0.75257 | N/A | N/A | 0 | 1 | 0 | 0
|  | 24 | Tissue | Normal | H3F3A K27M | 1.1989 | N/A | N/A | 0 | 1 | 0 | 0
[5 empty] | HIST1H3B K28M | 0.83385 | N/A | N/A | 0 | 1 | 0 | 0
|  | 28 | Tissue | Normal | H3F3A K27M | 1.1364 | N/A | N/A | 0 | 1 | 0 | 0
[5 empty] | HIST1H3B K28M | 1.3369 | N/A | N/A | 0 | 1 | 0 | 0
[5 empty] | ACVR1_7 | 0.94046 | N/A | N/A | 0 | 1 | 0 | 0
|  | 44 | CSF | Tumor | TP53 R213* | 1.2883 | 0.0045903 | N/A | 0 | 0 | 0 | 2
1.2818
|  |  | CSF | Tumor | EGFR V292L | 42.0686 | N/A | 45 | 1 | 0 | 0 | 0
|  |  | Tissue | Tumor | TP53 R213* | 1.1725 | N/A | N/A | 0 | 0 | 0 | 1
|  |  | Tissue | Tumor | EGFR V292L | 41.7895 | N/A | 45 | 1 | 0 | 0 | 0
|  | 55 | Tissue | Normal | H3F3A K27M | 1.4808 | 0.066499 | N/A | 0 | 2 | 0 | 0
1.5748
|  |  | Tissue | Normal | PPM1D E525* | 0.54652 | 0.08395 | N/A | 0 | 2 | 0 | 0
0.66524
|  |  | Tissue | Normal | ATRX Q119* | 2.3136 | 0.048504 | N/A | 0 | 2 | 0 | 0
2.3822
| 57 | 28 | CSF | Tumor | H3F3A K27M | 13.4488 | 0.34886 | 47 | 3 | 0 | 0 | 0
13.4025
14.0286
|  |  | CSF | Normal | ACVR1_7 | 0.90159 | 0.056715 | N/A | 0 | 3 | 0 | 0
1.0121
0.97909
|  | 45 | CSF | Tumor | H3F3A K27M | 40.8341 | N/A | 47 | 1 | 0 | 0 | 0
|  | 55 | Tissue | Tumor | H3F3A K27M | 49.0376 | 0.017396 | 47 | 2 | 0 | 0 | 0
49.0622
|  |  | Tissue | Tumor | PPM1D E525* | 47.9917 | 0.55889 | 43 | 2 | 0 | 0 | 0
47.2013
|  |  | Tissue | Tumor | ATRX Q119* | 1.9451 | 0.24777 | N/A | 0 | 0 | 0 | 2
2.2955
|  | 62 | CSF | Tumor | H3F3A K27M | 37.7624 | 0.32328 | 47 | 3 | 0 | 0 | 0
37.7561
37.1993
|  |  | CSF | Tumor | PPM1D E525st | 32.3169 | 0.56891 | 43 | 3 | 0 | 0 | 0
33.4051
33.1489
| 58 | 28 | CSF | Tumor | H3F3A K27M | 3.9526 | 0.24086 | N/A | 3 | 0 | 0 | 0
3.7051
3.471
|  |  | CSF | Normal | ACVR1_7 | 1.0069 | 0.027138 | N/A | 0 | 3 | 0 | 0
0.95265
0.97809
|  | 55 | Tissue | Tumor | H3F3A K27M | 26.4512 | 0.6008 | N/A | 2 | 0 | 0 | 0
27.3009
|  |  | Tissue | Tumor | PPM1D E525* | 0.69107 | 0.026635 | N/A | 0 | 0 | 0 | 2
0.72874
|  |  | Tissue | Tumor | ATRX Q119* | 2.467 | 0.073295 | 79 | 0 | 0 | 0 | 2
2.3633
|  | 63 | Tissue | Tumor | ATRX Q119st | 37.7624 | 21.0028 | 78 | 2 | 0 | 0 | 1
37.7561
1.3813
|  |  | CSF | Tumor | ATRX Q119st | 1.4542 | 20.6612 | 78 | 1 | 0 | 0 | 2
37.1993
1.3721
| 60 | 50 | CSF | Tumor | H3F3A K27M | 12.9317 | 8.6877 | 34 | 9 | 0 | 0 | 0
13.1454
12.9561
21.4005
21.1701
21.0245
1.1839
1.1888
1.3583
|  |  | CSF | Tumor | PIK3CA E545G | 23.1449 | 12.5032 | 34 | 6 | 0 | 0 | 0
36.1344
35.4621
10.5677
10.0863
10.4687
|  |  | CSF | Tumor | TP53 R158G | 41.9391 | 19.4178 | 45 | 6 | 0 | 0 | 0
41.3869
42.188
6.2325
6.3376
6.5997
|  |  | CSF | Tumor | TP53 R248Q | 33.9137 | 13.2296 | 43 | 9 | 0 | 0 | 0
32.6098
33.1149
30.3605
30.3133
30.2571
6.1114
4.7265
5.48
|  | 53 | CSF | Tumor | H3F3A K27M | 15.723 | 0.41039 | 34 | 3 | 0 | 0 | 0
16.053
15.2372
|  |  | CSF | Tumor | PIK3CA E545G | 37.1671 | 0.56035 | 34 | 3 | 0 | 0 | 0
36.816
36.0698
|  |  | CSF | Tumor | TP53 R158G | 26.2862 | 0.4926 | 45 | 3 | 0 | 0 | 0
26.7931
25.8081
|  |  | CSF | Tumor | TP53 R248Q | 30.4491 | 0.20378 | 43 | 3 | 0 | 0 | 0
30.1952
30.5983
| NTC03 | 27 | CSF | Normal | H3F3A K27M | 1.2507 | 0.021406 | N/A | 0 | 2 | 0 | 0
1.2204
[5 empty] | HIST1H3B K28M | 1.56 | 0.24219 | N/A | 0 | 2 | 0 | 0
1.2175
[5 empty] | ACVR1_7 | 0.30003 | 0.021215 | N/A | 0 | 2 | 0 | 0
0.27003
|  | 29 | CSF | Normal | H3F3A K27M | 0.72846 | 0.060467 | N/A | 0 | 2 | 0 | 0
0.81397
|  | 62 | CSF | Normal | H3F3A K27M | 1.3813 | 0.045021 | N/A | 0 | 3 | 0 | 0
1.4542
1.3721
[5 empty] | PPM1D E525st | 0.69119 | 0.01192 | N/A | 0 | 3 | 0 | 0
0.66735
0.67889
|  | 50 | CSF | Normal | PIK3CA E545G | 1.3144 | 0.12839 | N/A | 0 | 3 | 0 | 0
1.1273
1.0686
[5 empty] | TP53 R158G | 0.23257 | 0.016715 | N/A | 0 | 3 | 0 | 0
0.20339
0.2321
[5 empty] | TP53 R248Q | 0.97886 | 0.10262 | N/A | 0 | 3 | 0 | 0
1.1775
1.0333
| NTC06 | 53 | CSF | Normal | H3F3A K27M | 1.6373 | 0.039784 | N/A | 0 | 3 | 0 | 0
1.6669
1.716
[5 empty] | PIK3CA E545G | 1.419 | 0.10019 | N/A | 0 | 3 | 0 | 0
1.5772
1.3916
[5 empty] | TP53 R158G | 0.40084 | 0.035722 | N/A | 0 | 3 | 0 | 0
0.32965
0.37048
[5 empty] | TP53 R248Q | 0.80854 | 0.40164 | N/A | 0 | 3 | 0 | 0
1.5035
0.80725